## Product Discontinuation
Date of Upload | Catalogue Reference | Colour/Version | Description | Type of Substitute (Alternative/Direct Replacement/None) | Substitute Catalogue reference | Substitute Colour/Version
2023-08-31 | 04041 |  | DISTRIBLOC 4P 63A BOTTOM FEEDING | Direct | LVS04041
2024-01-29 17:46 | 15370 |  | DOMAE CONTACTOR 20A 2NO 230V | Alternative | A9C20732
2019-01-31 | 24501 |  | C.BREAKER C60 OEM UL1077 1P 2A D 277V 50 | Direct | M9F23102
2019-01-31 | 24502 |  | C.BREAKER C60 OEM UL1077 1P 3A D 277V 50 | Direct | M9F23103
2019-01-31 | 24503 |  | C.BREAKER C60 OEM UL1077 1P 4A D 277V 50 | Direct | M9F23104
2019-01-31 | 24505 |  | C.BREAKER C60 OEM UL1077 1P 8A D 277V 50 | Direct | M9F23108
2019-01-31 | 24507 |  | C.BREAKER C60 OEM UL1077 1P 13A D 277V 5 | Direct | M9F23113
2023-06-08 16:11 | 10MD15S-WE | WE | SOCK SWT MECH DP 15A SHUTT | None | None | None
2023-06-08 16:11 | 15/2-WE | WE | 2GANG SINGLE COMBINATION | None | None | None
2023-06-08 16:11 | 157/3 |  | BOX WALL 3GANG STD | None | None | None
2020-05-08 | 162/3 |  | BOX WALL 3G DBL HT CONCRETE | None | None | None
2023-06-08 16:11 | 164/4 |  | BOX WALL DEEP 4G SING HEIGHT | None | None | None
2024-04-03 15:22 | 16D-WE | WE | SOCKET SWT SING DP 10A SKIRT | Alternative | Various references in the Clipsal Pro Series range can be offered including for warranty purpose as well.
2023-06-08 16:11 | 2000-BK | BK | SURROUND 2000 SER | None | None | None
2023-06-08 16:11 | 2000SM-WE | WE | COVER PVC 1GANG DEEP SURR | None | None | None
2023-11-01 | 2015S-WE |  | SOCK SWT SING 10A 250V SHUTT | None | None | None
2023-06-08 16:11 | 2025RC10-RD | RD | SOCKET SWT TWIN 10A RCD 10MA | None | None | None
2023-06-08 16:11 | 2031VRC10-WE | WE | SWITCH 1GANG VERT RCD 10MA | None | None | None
2023-06-08 16:11 | 2031VRCD10-DB | DB | SWITCH 1GANG VERT 240V RCD10MA | None | None | None
2020-05-13 | 2032VAUSM-WE | WE | SWITCH 2GANG VERT 20A 16AX | None | None | None
2020-05-13 | 2033VAUSM-WE | WE | SWITCH 3GANG VERT 20A 16AX | None | None | None
2023-06-08 16:11 | 2036VC-4-WE | WE | MECH TO SUIT 2036VC and CC | None | None | None
2023-06-08 16:11 | 2154/3 |  | CLIP MOUNTING 3G WALLBOARD | None | None | None
2022-07-26 14:16 | 2154H2 |  | WALL CLIP HORZ 2000 SERIES | None | None | None
2022-12-31 | 2157H2 |  | WALLBOX 2 GANG HORIZ 2000SER | None | None | None
2022-12-31 | 240/25/3-EO |  | BOX JUNCT ROUND 3WAY 25MM | Alternative | 240/25/3-GY | GY
2023-11-06 10:25 | 246/16-GY | GY | TEE CONDUIT PVC INSP 16MM | None | None | None
2023-06-08 16:11 | 247LH20-EO | EO | BEND COND 45DEG L_SWP 20MM | None | None | None
2023-11-01 | 252/40/1-EO |  | BOX JUNCTION SQUARE 1W 40MM | None | None | None
2023-06-08 16:11 | 262/20-EO | EO | END CAP CONDUIT 20MM | None | None | None
2023-06-08 16:11 | 264/1SM-EO | EO | REDUCER PVC SCREWED 20_16MM | None | None | None
2023-11-01 | 30BTM-WE |  | SOCKET TELEPHONE 2 WIRE BT | None | None | None
2023-11-01 | 30N12-AM |  | INDICATOR NEON MECH 12V | None | None | None
2023-06-08 16:11 | 30TV75MS-BK | BK | SOCKET MECH 75OHM COAX | None | None | None
2023-06-08 16:11 | 3105CT611 |  | CRIMPING TOOL F-TYPE TOOL RG59 | None | None | None
2023-06-08 16:11 | 3105RG59F |  | CONNECTOR RG59 F-TYPE PK10 | None | None | None
2019-08-20 | 31VAUSMT-WE | WE | SWITCH 1G VERT 20A 16AX 563G1 | None | None | None
2023-11-28 00:02 | 31VK2/2-WE | WE | SWITCH 1GANG KEY OPERATED | None | None | None
2022-05-31 | 32ELEDM-WE |  | DIMMER MECHANISM LED | None | None | None
2023-06-08 16:11 | 4015L-OM | OM | SOCKT SWT SING RND EARTH SATRN | None | None | None
2020-12-31 | 4025USBC-EB |  | Socket DGPO 10A 250V Saturn c/w USB Chgr | None | None | None
2020-12-31 | 4066VH-EB |  | GRID & PLATE ASSY 6GANG SATURN | None | None | None
2023-11-06 10:02 | 408/3-WE | WE | SOCKET CLOCK 3PIN | None | None | None
2023-11-06 10:25 | 408/4-WE | WE | SOCKET CLOCK 4PIN | None | None | None
2023-06-08 16:11 | 413FP-TR | TR | PLATE MOUNTING FOR 413 | None | None | None
2023-06-08 16:11 | 449C-WE | WE | BLOCK MTG 1GANG STD PTN MODENA | None | None | None
2021-09-02 15:26 | 4CC15SB-WE | WE | SWITCHBOARD ENCL SUR 15MOD | Direct | MX9E2115S
2021-09-02 15:26 | 4FCC30-WE | WE | SWITCHBOARD ENCL FLUSH 30MOD | Direct | MX9E2215F
2023-11-01 | 5000ETP10FB |  | Black Facia, 10 Ethernet Touch Panel | None | None | None
2023-11-01 | 501SK-WE |  | LAMPHOLDER SKIRT ONLY | None | None | None
2023-11-01 | 5086F-60 |  | 6 GANG GLASS FACIA BLACK | None | None | None
2023-11-01 | 5086F-PW |  | 6 BUTTON GLASS FASCIA, PW | None | None | None
2023-11-01 | 564/00J |  | CLIP CABLE 2CORE FIG8 0.75MM2 | None | None | None
2023-11-01 | 564/3J |  | CLIP CABLE 3CORE FLAT 6MM2 | None | None | None
2023-11-01 | 564M4J |  | CLIP CABLE 4MM DIA and 1MM SDI | None | None | None
2023-06-08 16:11 | 564M6J |  | CLIP CABLE 6MM DIA and 1MM 2CORE | None | None | None
2023-11-01 | 567/13 |  | GROMMET FLANGE CABLE ENTRY | None | None | None
2023-11-01 | 567/22 |  | GROMMET FLANGE CABLE ENTRY | None | None | None
2023-11-01 | 567/9.5 |  | GROMMET FLANGE CABLE ENTRY | None | None | None
2023-06-08 16:11 | 56CSC315-RO | RO | SOCK CORD EXN IP66 3PN 15A 250 | None | None | None
2023-06-08 16:11 | 56P410-GY | GY | PLUG TOP IP66 STR 4PIN 10A 500 | None | None | None
2023-06-08 16:11 | 56P510-GY | GY | PLUG TOP IP66 STR 5PIN 10A 500 | None | None | None
2023-06-08 16:11 | 56P540-GY | GY | PLUG TOP IP66 STR 5PIN 40A 500 | None | None | None
2023-06-08 16:11 | 56PEK25-RO | RO | PENDANT OUTLET KIT 25MM ENTRY | None | None | None
2023-06-08 16:11 | 56PEK32-GY | GY | PENDANT OUTLET KIT 32MM ENTRY | None | None | None
2023-10-01 | 6220-0 |  | FAN EXH EXPRESSAIRE 250MM | Direct | 6220-ON
2023-06-08 16:11 | 70/1-BK | BK | BLOCK MOUNTING 1GANG ARCH | None | None | None
2023-10-01 | 7006A |  | FAN EXH WALL 150MM-AUTO LOUVRE | Direct | 7006AN
2023-09-07 11:48 | 7008A |  | FAN EXH WALL 150MM-P_CORD LOUV | Alternative | 7108AN
2023-10-01 | 7105A |  | FAN EXH WIND 200MM-AUTO LOUVRE | Direct | 7105AN
2023-10-01 | 7107A |  | FAN EXH WIND 200MM-P_CORD LOUV | Alternative | 7007AN
2023-10-01 | 7108A |  | FAN EXH WALL 200MM-P_CORD LOUV | Direct | 7108AN
2022-02-28 | 750-KNUCKLE-GY |  | INFRASCAN OUTDOOR KNUCKLE | None | None | None
2022-06-30 | 750MBA-GY |  | INFRASCAN OUTDOOR MOUNT ADAPT | None | None | None
2019-07-08 | 750WP-GY | GY | INFRASCAN OUTDOOR 2WIRE 5A | Alternative | 750WPR-GY | GY
2022-11-28 09:34 | 751MB-WE | WE | INFRASCAN INDOOR MOUNTING BLOC | None | None | None
2023-06-08 16:11 | 752/CD |  | SENSOR, DUAL ULT_PIR, CEILING | None | None | None
2022-11-28 09:34 | 752DALIS |  | PIR sensor, Slave for 752DALIRC, 360deg | None | None | None
2022-11-28 09:34 | 752RC/DALI |  | Remote Control for 752DALIRC sensor | None | None | None
2019-07-08 | 753-WE | WE | INFRASCAN 360DEGREE 2WIRE | Alternative | 753R-WE | WE
2023-08-30 | A9A26924 |  | ACTI9 IOF 240-415VAC 24-130VDC OC CONTAC | Direct | A9A26904
2023-08-30 | A9A26929 |  | ACTI9 IOF SD-OF 240-415VAC 24-130VDC DOU | Direct | A9A26909
2023-11-01 | A9F43225 |  | Acti9 iC60N 2P B 25A MCB | None | None | None
2023-08-30 | A9N26924 |  | AUX CONTACT OC PLUS 1 SD AND OF AC DC | Direct | A9N26904
2023-08-30 | A9N26929 |  | AUXILIARY CONTACT OC PLUS 1 SD AND OF AC | Direct | A9N26909
2022-12-31 | ACT4P6UPEJ3RBK |  | CAT6 4PR UTP CABLE 305M PE GEL REEL BK | None | None | None
2022-06-30 | ACTC6110BL4P |  | CAT.6 110 IDC 4-PAIR | Alternative | VDIM33174
2022-06-30 | ACTC6110WMW96 |  | CAT 6 110 BLOCK 96-PAIR WITH LEGS | Alternative | VDIM33175
2022-03-03 12:59 | ACTC6A110WMW64 |  | CAT. 6A 110 BLOCK 64 PAIR WITH LEGS | Alternative | VDIM33177
2023-11-01 | ACTMMOS24S |  | MPO CASSETTE 24XLC OS2 STRAIGHT THROUGH | None | None | None
2023-11-01 | ACTMMOT12S |  | MTP/F CASSETTE 12XLC OM3 STRAIGHT | None | None | None
2023-11-01 | ACTMMOT24S |  | MPO CASSETTE 24XLC OM3 STRAIGHT THROUGH | None | None | None
2023-06-08 16:11 | B15/15A-WE | WE | SOCKET SWT SING HORIZ B STYLE SS WE | None | None | None
2023-09-04 15:21 | B15V2A-WE | WE | SOCKET SWT TWIN B STYLE S_S | None | None | None
2023-11-01 | B31A-WE |  | SWITCH 1G ARCH B STYLE SS WE | None | None | None
2023-06-08 16:11 | C2015D4MB-BK | BK | BLOCK MOUNT FOR 4 GANG OUTLET | None | None | None
2023-06-08 16:11 | C2015V-BK | BK | SOCKET SWT SING VERT CLASSIC | None | None | None
2023-06-08 16:11 | C2016/2C-BA | BA | COVER C2016_2 | None | None | None
2020-12-31 | C2016/2D-WE |  | SOCKET-SWITCH-TWIN-D/P-ARCH | None | None | None
2023-03-31 | C2025RCC-WE |  | COVER SUITS C2025RC CLASSIC | None | None | None
2020-05-13 | C2031VAUSMT-BK | BK | SWITCH 1G VERT 20A 16AX 563G1 | None | None | None
2022-06-06 15:16 | C2032VAUSM-WE | WE | SWITCH 2GANG VERTICAL 20A 16AX | None | None | None
2020-05-13 | C2033VAUSM-BK | BK | SWITCH 3GANG VERTICAL 20A 16AX | None | None | None
2022-06-06 15:16 | C2033VAUSM-WE | WE | SWITCH 3GANG VERTICAL 20A 16AX | None | None | None
2023-06-08 16:11 | C246/25-WE | WE | TEE INSPECTION PVC COND 25MM | None | None | None
2022-03-31 | C325603TFW |  | MSC Chassis C60 3P 250A 60P TFW | Direct | SAU25060183
2023-10-01 | CEF40WK-WE |  | FAN KIT CEILING DUCT 265 | Direct | CEF40N-WE AND CEF40KIT
2023-06-26 11:36 | CLITPFLS100LED |  | FLOODLIGHT LED, 100W, 4000K, IP65 | Direct | CLITPFLT100
2023-06-26 11:36 | CLITPFLS20LED |  | FLOODLIGHT LED, 20W, 4000K, IP65 | Direct | CLITPFLT30PSC
2023-06-26 11:36 | CLITPFLS50LED |  | FLOODLIGHT LED, 50W, 4000K, IP65 | Direct | CLITPFLT50
2023-06-08 16:11 | CLSPD |  | Power Supply DIN Mounted | None | None | None
2022-12-31 | CPLRJ24USPPAN |  | PATCH PANEL ANGLED 24PORT SHD-UNLOADED | None | None | None
2023-10-25 | DC6CAUTP4P3X |  | CAT.6, 4PR UTP CABLE 305M | None | None | None
2022-04-11 | DCBM1-1608 |  | BM-IO CONTROLLER 16-IN 8-OUT | Alternative | DCBM2-1608
2023-10-25 | DCECAUTP4P3X |  | CAT.5E, 4PR UTP CABLE 305M | None | None | None
2023-09-22 11:34 | DCK12458 |  | DOMAE SWITCH DISCONNECTOR 1P 63A | Direct | R9S06191
2023-09-22 11:34 | DCK12464 |  | DOMAE SWITCH DISCONNECTOR 3P 63A | Direct | R9S06391
2023-06-08 16:11 | DCPH30M |  | Panel _ Ceiling press fit 30Mech adaptor | None | None | None
2023-09-22 11:34 | DOM11375 |  | Domae MCB ,1P ,6A ,C Curve, 6kA | Direct | R9F06106
2023-09-22 11:34 | DOM11378 |  | Domae MCB ,1P ,20A ,C Curve, 6kA | Direct | R9F06120
2023-09-22 11:34 | DOM11380 |  | Domae MCB ,1P ,32A ,C Curve, 6kA | Direct | R9F06132
2023-09-22 11:34 | DOM11381 |  | DOMAECIRCUIT BREAKER 1P 40A C 230V 6000 | Direct | R9F06140
2023-09-22 11:34 | DOM12531 |  | Domae AD63 K RCBO 1PN C 16A 30mA SLIM | Direct | R9D06616
2023-09-22 11:34 | DOM12534 |  | Domae AD63 K RCBO 1PN C 32A 30mA SLIM | Direct | R9D06632
2023-09-22 11:34 | DOM16695 |  | Domae RCCB 2P 40A 30mA A | Direct | R9R06240
2023-09-22 11:34 | DOM16696 |  | Domae RCCB 2P 63A 30mA A | Direct | R9R06263
2023-09-22 11:34 | DOM19804 |  | DOMC65C C 20A 1PN 6000A 30MA A | Direct | R9D08620
2023-09-22 11:34 | DOM19805 |  | DOMC65C C 25A 1PN 6000A 30MA A | Direct | R9D08625
2023-09-22 11:34 | DOM19807 |  | DOMC65C C 40A 1PN 6000A 30MA A | Direct | R9D08640
2023-06-08 16:11 | L51CM-SB | SB | DIM CH MODULE,STANDARD, BC_RLY | None | None | None
2024-03-01 | L5508D1AP |  | 8 CHANNEL DIMMER DIN LEARN | Direct | 5508D1D
2022-03-15 13:04 | LHC882-WH | WH | KEY INPUT 2G MODENA WHITE | None | None | None
2022-03-15 13:04 | LHC884-WH | WH | KEY INPUT 4G MODENA WHITE | None | None | None
2022-03-15 13:04 | LHC886-WH | WH | KEY INPUT 6G MODENA WHITE | None | None | None
2022-03-17 12:03 | M8727-BK | BK | Shaver Socket Modena | None | None | None
2023-08-30 | M9A26927 |  | Multi9 SD 240-415VAC 24-130VDC aux | Direct | M9A26907
2018-02-22 | MSW5PEL7000BK |  | 5 POLE EXT LEAD 7 METRE 20A | None | None | None
2022-12-31 | PDL154 |  | 154 10WAY154 10WAY | None | None | None
2023-11-01 | PDL193/15/2 |  | 193_15-2 WHITE 2 - 3.5MM SKT | None | None | None
2023-03-01 | PDL194E-23LC | LC | 194E-23LC SKT 10A 2.3MM ASSY | None | None | None
2022-12-31 | PDL202 |  | 202S SCREW 6-32 UNC X 33 | None | None | None
2021-12-21 | PDL300KBC-WY | WY | Knob, Carrier & Knob Cap Warm Grey | Alternative | PDL300KBC-VW | VW
2021-12-21 | PDL300PBC-WY | WY | Pushbutton Mech Cap PK5 Warm Grey | Alternative | PDL300PBC-VW | VW
2021-12-21 | PDL306-WY | WY | Night walk sensor light, Warm Grey | Alternative | PDL306-VW | VW
2023-11-01 | PDL340MRB-TN |  | Audio Socket RCA RD+BK | None | None | None
2021-12-21 | PDL343HSC-WY | WY | 3 gang USB charging station Skin WG | Alternative | PDL343HSC-VW | VW
2021-12-21 | PDL347VHC-WY | WY | Skin Switch V/H Cooker DP 45A WY | Alternative | PDL347VHC-VW | VW
2021-12-21 | PDL350C-WY | WY | Skin Switch V/H Blank Plate WY | Alternative | PDL350C-VW | VW
2022-06-17 | PDL354RDMLED-VW | VW | Dimmer Mod Rotary LED 350W | Direct | PDL354RDMLED2-VW | VW
2021-12-21 | PDL361C-WY | WY | Skin Switch Arch 1G Rocker WY | Alternative | PDL361C-VW | VW
2021-12-21 | PDL362C-WY | WY | Skin Switch Arch 2G Rocker WY | Alternative | PDL362C-VW | VW
2021-12-21 | PDL380AR32-WY | WY | Dolly Rocker 32A PK10 WY | Alternative | PDL380AR32-VW | VW
2021-12-21 | PDL381AR-WY | WY | Dolly Rocker BLANK PK10 WY | Alternative | PDL381AR-VW | VW
2021-12-21 | PDL381C-WY | WY | Skin Switch V/H 1G rocker WY | Alternative | PDL381C-VW | VW
2021-12-21 | PDL382C-WY | WY | Skin Switch V/H 2G rocker WY | Alternative | PDL382C-VW | VW
2021-12-21 | PDL383C-WY | WY | Skin Switch V/H 3G rocker WY | Alternative | PDL383C-VW | VW
2021-12-21 | PDL384C-WY | WY | Skin Switch V/H 4G rocker WY | Alternative | PDL384C-VW | VW
2021-12-21 | PDL385C-WY | WY | Skin Switch V/H 5G rocker WY | Alternative | PDL385C-VW | VW
2021-12-21 | PDL386C-WY | WY | Skin Switch V/H 6G rocker WY | Alternative | PDL386C-VW | VW
2021-12-21 | PDL391C-WY | WY | Skin Socket Sw Vert Single 10A 250V WY | Alternative | PDL391C-VW | VW
2023-10-11 15:23 | PDL391RCD30-VW | VW | Socket Sw Vert Single 30mA RCD 10A 250V | Alternative | PDL395RCD30-VW | VW
2021-12-21 | PDL392C-WY | WY | Skin Socket SwVert Twin 10A250V WY | Alternative | PDL392C-VW | VW
2021-12-21 | PDL392XC-WY | WY | Skin Socket SwVertTwin 1ExSw WY | Alternative | PDL392XC-VW | VW
2021-12-21 | PDL394/15C-WY | WY | Skin Socket Horiz Sgle 15A 250V WY | Alternative | PDL394/15C-VW | VW
2021-12-21 | PDL394/20C-WY | WY | Skin Socket Horiz Single 20A 250V WY | Alternative | PDL394/20C-VW | VW
2021-12-21 | PDL394C-WY | WY | Skin Socket Horiz Single 10A 250V WY | Alternative | PDL394C-VW | VW
2021-12-21 | PDL394XC-WY | WY | Skin Socket Sw Horiz Sgl 1ExSw WY | Alternative | PDL394XC-VW | VW
2021-12-21 | PDL395/15C-WY | WY | Skin Socket Sw Horiz Twin 15A 250V WY | Alternative | PDL395/15C-VW | VW
2021-12-21 | PDL395CSC-WY | WY | Skin Socket Connected Horiz Twin WY | Alternative | PDL395CSC-VW | VW
2021-12-21 | PDL395C-WY | WY | Skin Socket Sw Horiz Twin 10A 250V WY | Alternative | PDL395C-VW | VW
2021-12-21 | PDL395H4C-WY | WY | Skin Socket Sw Horiz Quad 10A 250V WY | Alternative | PDL395H4C-VW | VW
2021-12-21 | PDL395H4XXC-WY | WY | Skin Socket SwHorizQuad 2ExSw 10A250V WY | Alternative | PDL395H4XXC-VW | VW
2021-12-21 | PDL395XC-WY | WY | Skin Socket SwHorizTwin 1ExSw 10A250V WY | Alternative | PDL395XC-VW | VW
2022-12-31 | PDL538BK | BK | 538 BLACK 2G CONVERSION PLATE | None | None | None
2022-12-31 | PDL565WH | WH | 565 WHITE ARCHITRAVE BLOCK | None | None | None
2023-11-01 | PDL567SBK |  | 567S BLACK SHORT WORKTOP BLK | None | None | None
2023-11-01 | PDL56AI416LE | LE | 56AI416 GREY_LE_PDL | None | None | None
2023-11-01 | PDL56AI440LE |  | 56AI440_445_GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56AI450LE |  | 56AI450_455_GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56AI516LE |  | 56AI516 GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56C310RCD30LERW |  | 56C310RCD-30 WHITE RCD LE PDL | None | None | None
2023-11-01 | PDL56C320RCD30LEGY | GY | 56C320RCD-30 GREY RCD_LE_PDL | None | None | None
2023-11-01 | PDL56C320RCD30LERO | RO | 56C320RCD-30 ORANGE RCD LE PDL | None | None | None
2023-11-01 | PDL56CB4LERO | RO | ORANGE MCB_RCD COVER _LE_ PDL | None | None | None
2023-11-01 | PDL56CR440 |  | 56CR440 Cord Connector - 4 pin 40A | None | None | None
2023-11-01 | PDL56CR450 |  | 56CR450 Cord Connector - 4 pin 50A | None | None | None
2023-06-08 16:11 | PDL56CRV420 |  | 56CRV420 Chem Res Connector - 4 pin 20A | None | None | None
2023-06-08 16:11 | PDL56CRV516 |  | 56CRV516 Chem Res Connector - 5 pin 16A | None | None | None
2023-06-08 16:11 | PDL56CRV520 |  | 56CRV520 Chem Res Connector - 5 pin 20A | None | None | None
2023-06-08 16:11 | PDL56CV320LERO |  | 56CV320 ORANGE_LE_PDL | None | None | None
2023-11-01 | PDL56CV410LECG | CG | 56CV410_416_DARK GREY LE PDL | None | None | None
2023-06-08 16:11 | PDL56CV440LERO |  | 56CV440_445_ORANGE_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56CV450LERO |  | 56CV450_455_ORANGE_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56CV450LERW |  | 56CV450_455_WHITE_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56CV516LERO |  | 56CV516_515_ORANGE_LE_PDL | None | None | None
2023-11-01 | PDL56CV540LERO | RO | 56CV540RO RES OR_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56CV550LERW |  | 56CV550 WHITE_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56CV716LEGY |  | 56CV716_715_GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56DL2LECL |  | 56DL2_C CLEAR 2G DEEP LID PDL | None | None | None
2023-06-08 16:11 | PDL56DL2LERO |  | 56DL2_O ORANGE 2G DEEP LID PDL | None | None | None
2023-06-08 16:11 | PDL56DL2LERW |  | 56DL2_W White 2G Deep Lid PDL | None | None | None
2023-11-01 | PDL56E1/20/20RW |  | 56E1_20_20 WHITE PDL | None | None | None
2023-11-01 | PDL56E2FOOD |  | FOOD INDUSTRY 56E2 ORANGE | None | None | None
2023-11-01 | PDL56E2VRW |  | 56E2V WHITE PDL | None | None | None
2023-11-01 | PDL56E4VHRW |  | 56E4VH WHITE PDL | None | None | None
2023-11-01 | PDL56E8RW |  | 56E8 WHITE PDL | None | None | None
2023-11-01 | PDL56ED2/40RW |  | 56ED2_40 WHITE PDL | None | None | None
2023-06-08 16:11 | PDL56FA1RO |  | 56FA1 ORANGE PDL | None | None | None
2023-06-08 16:11 | PDL56FA2RO |  | 56FA2 ORANGE PDL | None | None | None
2023-11-01 | PDL56FA3RW | RW | Flush surround 3G White | None | None | None
2023-06-08 16:11 | PDL56FA4RO |  | Flush surround 4G Orange | None | None | None
2023-06-08 16:11 | PDL56FA4RW |  | Flush Surround 4G RESISTANT WH | None | None | None
2023-06-08 16:11 | PDL56G1 |  | 56 SERIES 1 GANG GASKET KIT | None | None | None
2023-11-01 | PDL56G2 |  | 56 SERIES 2 GANG GASKET KIT | None | None | None
2023-06-08 16:11 | PDL56GREENBOOT |  | 569_11 GREEN GO BUTTON KIT PKD | None | None | None
2023-11-01 | PDL56L1/22/2LECG | CG | 56L1_22_2 DARK GREY 2 HOLE LID | None | None | None
2023-11-01 | PDL56L3LECL |  | 56L3_C CLEAR 3G LID PDL | None | None | None
2023-06-08 16:11 | PDL56L3LERO |  | 56L3 ORANGE 3G LID PDL | None | None | None
2023-06-08 16:11 | PDL56L3LERW |  | 56L3 White 3G Lid PDL | None | None | None
2023-06-08 16:11 | PDL56L4LECL |  | 56L4 CLEAR 4G SHALLOW LID PDL | None | None | None
2023-11-01 | PDL56L4LERO | RO | 56L4 ORANGE 4G LID | None | None | None
2023-06-08 16:11 | PDL56L4LERW |  | 56L4 WHITE 4G LID PDL | None | None | None
2023-11-01 | PDL56MO5001LERW |  | 56MO500_1 RW 500 ADAPTOR | None | None | None
2023-06-08 16:11 | PDL56MO5002LERO |  | 56MO500_2 ORANGE 500 ADAPTOR | None | None | None
2023-11-01 | PDL56MO5002LERW | RW | 56MO500_2 RW 500 ADAPTOR | None | None | None
2023-11-01 | PDL56P440 |  | 56P440 Plug - 4 pin 40A | None | None | None
2023-06-08 16:11 | PDL56P616 |  | 56P616 Plug - 6 pin 16A | None | None | None
2023-11-01 | PDL56PA616 |  | 56PA616 Angled Plug - 6 pin 16A | None | None | None
2023-06-08 16:11 | PDL56PAV320 |  | Chem Res Angled Plug - 3 pin 20A | None | None | None
2023-11-01 | PDL56PAV332 |  | Chem Res Angled Plug - 3 pin 32A | None | None | None
2023-06-08 16:11 | PDL56PAV516 |  | Chem Res Angled Plug - 5 pin 16A | None | None | None
2023-06-08 16:11 | PDL56PAV716 |  | Chem Res Angled Plug - 7 pin 16A | None | None | None
2023-06-08 16:11 | PDL56PAV720 |  | Chem Res Angled Plug - 7 pin 20A | None | None | None
2023-06-08 16:11 | PDL56PB1GNLERO |  | 56PB1 Orange Base GN P_B | None | None | None
2023-11-01 | PDL56PB1RDLEGY | GY | 56PB1 Grey Base RD P_B | None | None | None
2023-06-08 16:11 | PDL56PB1RDLERO |  | 56PB1 Orange Base RD P_B | None | None | None
2023-06-08 16:11 | PDL56PB1RDLERW |  | 56PB1 WHITE BASE RD P_B | None | None | None
2023-06-08 16:11 | PDL56PB2LERO |  | 56PB2 G_R ORANGE-GREEN D PDL | None | None | None
2023-06-08 16:11 | PDL56PB2LERW |  | 56PB2 RW GN_RD PB _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56PLUG25GY |  | 1S025 PLUG GY 25MM PKD | None | None | None
2023-06-08 16:11 | PDL56POKI |  | 56POKI LARGE PENDANT OUTLET | None | None | None
2023-11-01 | PDL56PV315RO | RO | 56PV315 Chem Res Plug - 3 pin 15A | None | None | None
2023-11-01 | PDL56PV416 |  | 56PV416 Chem Res Plug - 4 pin 16A | None | None | None
2023-06-08 16:11 | PDL56PV420 |  | 56PV420 Chem Res Plug - 4 pin 20A | None | None | None
2023-06-08 16:11 | PDL56PV520 |  | 56PV520 Chem Res Plug - 5 pin 20A | None | None | None
2023-06-08 16:11 | PDL56PV716 |  | 56PV716 Chem Res Plug - 7 pin 16A | None | None | None
2023-06-08 16:11 | PDL56PV720 |  | 56PV720 Chem Res Plug - 7 pin 20A | None | None | None
2023-11-01 | PDL56SO316240LERO |  | 56SO316_240 ORANGE _LE_ PDL | None | None | None
2023-11-01 | PDL56SO332LERW | RW | 56SO332 RW_LE_PDL | None | None | None
2023-11-01 | PDL56SO516CEELEGY | GY | 56SO516 CEE GREY_LE | None | None | None
2023-11-01 | PDL56SO516LERW |  | 56SO516 WHITE_LE_PDL | None | None | None
2023-11-01 | PDL56SO710LECG | CG | 56SO710_716_DARK GREY LE PDL | None | None | None
2023-06-08 16:11 | PDL56SOCOVERGY |  | 56SO COVER SKT GY PKD | None | None | None
2023-06-08 16:11 | PDL56SW01 |  | 56SW01 0.1A AUX SWITCH GOLD | None | None | None
2023-06-08 16:11 | PDL56SW1102ILERW |  | 56SW110_2I RW _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW15 |  | 56SW15 15A AUX SWITCH STD | None | None | None
2023-06-08 16:11 | PDL56SW2K110LEGY |  | 56SW2K110 GREY_LE_PDL | None | None | None
2023-11-01 | PDL56SW2K132LEGY | GY | 56SW2K132 GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56SW2KC320LEGY |  | 56SW2KC320 GY COMM-KEY LE PDL | None | None | None
2023-06-08 16:11 | PDL56SW320COLERO |  | 56SW320C_O ORANGE _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW320FRLERO |  | 56SW320F_R ORANGE _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW320FRLERW |  | 56SW320F_R RW _LE_ PDL | None | None | None
2023-11-01 | PDL56SW320KGLERO | RO | 56SW320_KG ORANGE _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW340KGLEGY |  | 56SW340_KG GREY _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW3502LERO |  | 56SW350_2 ORANGE _LE_ PDL | None | None | None
2023-11-01 | PDL56SW350LERO | RO | 56SW350_355_ORANGE_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56SW420/2KGLERW |  | 56SW420_2 KG WHITE _LE_ PDL | None | None | None
2023-11-01 | PDL56SW4202KGLEGY | GY | 56SW420_2 KG GREY _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW4202KGLERO |  | 56SW420_2 KG ORANGE _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW4322KGLEGY |  | 56SW432_2 KG GREY _LE_ PDL | None | None | None
2023-06-08 16:11 | PDL56SW620KGLEGY |  | 56SW620 KG GREY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56SWKC120LEGY |  | 56SWKC120 GY COM KY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56SWKC320LEGY |  | 56SWKC320 GY Com KY_LE_PDL | None | None | None
2023-06-08 16:11 | PDL56XDL1LECL |  | 56XDL1_C CL EXTRA DEEP LID | None | None | None
2022-12-31 | PDL572WH | WH | 572 WHITE W_H SWITCH 20A | None | None | None
2023-03-31 | PDL600BBK | BK | 600B BLACK BLANK MODULE | None | None | None
2023-03-31 | PDL600BIDWH | WH | 600BID WHITE ID MODULE | None | None | None
2022-06-06 15:16 | PDL610ML12AM |  | 610ML12 WH-AMBER 12V LAMP MOD | None | None | None
2022-08-21 | PDL610ML12GN | GN | 610ML12 WH-GREEN 12V LAMP MOD | None | None | None
2022-06-06 15:16 | PDL610ML12RD |  | 610ML12 WH-RED 12V LAMP MOD | None | None | None
2022-06-06 15:16 | PDL610ML24AM |  | 610ML24 WH-AMBER 24V LAMP MOD | None | None | None
2022-08-21 | PDL610ML24RD | RD | 610ML24 WH-RED 24V LAMP MOD | None | None | None
2022-06-06 15:16 | PDL610MNAMWH |  | 610MN WHITE-AMBER NEON MODULE | None | None | None
2022-06-06 15:16 | PDL610MNBUWH |  | 610MN WHITE-BLUE NEON MODULE | None | None | None
2023-03-31 | PDL612CWH | WH | 612C WHITE COVER | None | None | None
2022-08-21 | PDL620PBK | BK | 620P BLACK DIMMER KNOB PACK | None | None | None
2022-08-21 | PDL622T1WH | WH | 1 gang switch plate TE | None | None | None
2022-08-21 | PDL626N |  | 626N WHITE NEON KEYCARD SW | None | None | None
2023-11-01 | PDL628MWH | WH | 628M WHITE TV 75OHMS OUTLET | None | None | None
2022-08-21 | PDL646E7MSS | SS | 646E7MSS STAINLESS STEEL CVR | None | None | None
2023-03-31 | PDL647MSS | SS | 647MSS STAINLESS STEEL COVER | Alternative | PDL647WH
2022-08-21 | PDL664VHWH | WH | 664VH WHITE ARCH PLATE ONLY | None | None | None
2022-08-21 | PDL680BK | BK | 680 BLACK SWITCH 32 AMP | None | None | None
2022-08-21 | PDL680MPB | PB | 680MPB POLISHED BRASS COVER | None | None | None
2022-08-21 | PDL680TMNPBGNWH | WH | 680TMNPB WH-GRN 24V DC ACTUATO | None | None | None
2022-08-21 | PDL680TMPBBK | BK | 680TMPB BLACK 24V DC ACTUATOR | None | None | None
2023-03-31 | PDL681CBK | BK | 681C BLACK COVER | Alternative | PDL681BK
2022-08-21 | PDL681HIDWH | WH | 681HID WH MODULE PL WITH ID | None | None | None
2023-03-31 | PDL681M16HFALWH | WH | 681M16HFAL WH HING SW MOD ALM | Alternative | PDL681M16HFWH
2023-03-31 | PDL681M16HFSBK | BK | 681M16HFS BK HINGED SW MOD SE | Alternative | PDL681M16HFBK
2022-08-21 | PDL681M16PBMGNWH | WH | 681M16PBM WHITE MOD-GREEN P_B | None | None | None
2022-08-21 | PDL681M16PBPRDWH | WH | 681M16PBP WHITE MOD-RED P_B | None | None | None
2022-08-21 | PDL681M16PBSBKWH | WH | 681M16PBS WHITE MOD-BLACK P_B | None | None | None
2022-08-21 | PDL681M20AMWH | WH | 681M20AM WH MODULE AUTO_MAN | None | None | None
2023-03-31 | PDL681M20APWH | WH | 681M20AP WH MODULE APPLIANCE | Alternative | PDL681M20WH
2023-03-31 | PDL681M20BWH | WH | 681M20B WHITE MODULE BELL | Alternative | PDL681M20WH
2023-03-31 | PDL681M20DRWH | WH | 681M20DR WH MODULE DOOR | Alternative | PDL681M20WH
2023-03-31 | PDL681M20DWBK | BK | 681M20DW BK MODULE D_WASH | Alternative | PDL681M20BK
2023-03-31 | PDL681M20DYWH | WH | 681M20DY WH MODULE DRYER | Alternative | PDL681M20WH
2022-08-21 | PDL681M20FBK | BK | 681M20F BLACK MODULE FAN | None | None | None
2023-03-31 | PDL681M20FGBK | BK | 681M20FG BK MODULE FRIDGE | Alternative | PDL681M20WH
2023-03-31 | PDL681M20GNWH | WH | 681M20GN WH MODULE GARDEN | Alternative | PDL681M20WH
2023-03-31 | PDL681M20GWH | WH | 681M20G WH MODULE GAS | Alternative | PDL681M20WH
2022-08-21 | PDL681M20HBK | BK | 681M20H BLACK MODULE HEAT | None | None | None
2023-03-31 | PDL681M20HDBK | BK | 681M20HD BK MODULE HOOD | Alternative | PDL681M20BK
2022-08-21 | PDL681M20HWSWH | WH | 681M20HWS WH HWS 2W MOD | None | None | None
2023-03-31 | PDL681M20IOWH | WH | 681M20IO WH MODULE ON_OFF | Alternative | PDL681M20WH
2023-03-31 | PDL681M20KTWH | WH | 681M20KT WH MODULE KITCHEN | Alternative | PDL681M20WH
2023-03-31 | PDL681M20MRBK | BK | 681M20MR BK MODULE MIRROR | Alternative | PDL681M20BK
2023-03-31 | PDL681M20MWBK | BK | 681M20MW BK MODULE MICROW | Alternative | PDL681M20BK
2023-03-31 | PDL681M20OBK | BK | 681M20O BK MODULE OUTSIDE | Alternative | PDL681M20BK
2023-03-31 | PDL681M20PLWH | WH | 681M20PL WHITE MODULE - POOL | Alternative | PDL681M20WH
2023-03-31 | PDL681M20PUWH | WH | 681M20PU WH MODULE PUMP | Alternative | PDL681M20WH
2022-05-16 | PDL681M20SEBK | BK | 681M20SE BLACK MODULE SENSOR | None | None | None
2023-03-31 | PDL681M20STWH | WH | 681M20ST WH MODULE STAIRS | Alternative | PDL681M20WH
2023-03-31 | PDL681M20SWH | WH | 681M20S WH MODULE SPA | Alternative | PDL681M20WH
2023-03-31 | PDL681M20TVWH | WH | 681M20TV WHITE MODULE TV | Alternative | PDL681M20WH
2023-03-31 | PDL681M20WHBK | BK | 681M20WH BK MODULE WASH | Alternative | PDL681M20BK
2023-03-31 | PDL681M20WTBK | BK | 681M20WT BK MODULE WASTE | Alternative | PDL681M20BK
2022-08-21 | PDL681MBBZ | BZ | 681MBBZ BRUSH BRONZE COVER | None | None | None
2022-08-21 | PDL681RD | RD | 681 RED SWITCH | None | None | None
2022-06-06 15:16 | PDL681VWPBK |  | 681VWP BLACK VERT W_P SW | None | None | None
2023-03-31 | PDL682HWPWH | WH | 682HWP WHITE HORI W_P SWITCH | Alternative | PDL382VWP-VW | VW
2022-08-21 | PDL682MPB | PB | 682MPB POLISHED BRASS COVER | None | None | None
2023-07-07 | PDL682MSS | SS | 682MSS STAINLESS STEEL COVER | Alternative | PDL682WH
2022-08-21 | PDL682VWPBK | BK | 682VWP BLACK VERT W_P SW | None | None | None
2022-08-21 | PDL683HIDWH | WH | 683HID WH MODULE PL WITH ID | None | None | None
2022-08-21 | PDL683MPB | PB | 683MPB POLISHED BRASS COVER | None | None | None
2022-11-13 | PDL684HWPDWH | WH | 684HWPD DEDICATED HORZ W_P SW | Alternative | PDL384VWP-VW | VW
2022-08-21 | PDL684MBBZ | BZ | 684MBBZ BRUSH BRONZE COVER | None | None | None
2022-08-21 | PDL684VWPDWH | WH | 684VWPD DEDICATED W_P SW | None | None | None
2022-06-06 15:16 | PDL686CWH |  | 686C WHITE COVER | None | None | None
2022-08-21 | PDL686MSS | SS | 686MSS STAINLESS STEEL COVER | None | None | None
2022-08-21 | PDL687M3AMBK | BK | 687M3A_M BLK 3W ROT MOD A O M | None | None | None
2022-08-21 | PDL687M3WH | WH | 687M3 WHITE 3W ROTARY SW MOD | None | None | None
2023-03-31 | PDL688MSS | SS | 688MSS STAINLESS STEEL COVER | None | None | None
2023-03-31 | PDL691CWH | WH | L691C WHITE COVER PLATE | Alternative | PDL691WH
2023-03-31 | PDL691RWH | WH | L691R WHITE SW SKT ROUND E | Alternative | PDL691WH
2023-03-31 | PDL691XBK | BK | L691X BLACK SW SOCKET & SW | Alternative | PDL691BK
2023-03-31 | PDL691XCWH | WH | L691XC WHITE COVER PLATE | Alternative | PDL691WH
2023-03-31 | PDL692IDWH | WH | L692ID WH SWITCH SKT ID | None | None | None
2023-07-07 | PDL692MSS | SS | L692MSS STAINLESS STEEL COVER | Alternative | PDL692WH
2023-03-31 | PDL692NWH | WH | L692N WHITE SW SOCKET NEON | None | None | None
2023-03-31 | PDL692RWH | WH | L692R WHITE SW SKT ROUND E | None | None | None
2023-04-30 | PDL692USBWH | WH | Double Vert socket with USB charger WH | Alternative | PDL692XWH PDL642MUSB
2023-03-31 | PDL692XCWH | WH | L692XC WHITE COVER PLATE | Alternative | PDL692XWH
2024-03-18 10:39 | PDL694/15WH | WH | L694_15 WHITE SWITCH SKT 15A | Direct | PDL694/15WH | WH
2023-03-31 | PDL694CWH | WH | L694C WHITE COVER PLATE | Alternative | PDL694WH
2022-08-21 | PDL694MSS | SS | L694MSS STAINLESS STEEL COVER | None | None | None
2023-03-31 | PDL695CBK | BK | L695C BLACK COVER PLATE | Alternative | PDL695BK
2023-03-31 | PDL695NWH | WH | L695N WHITE SW SKT NEON | None | None | None
2023-03-31 | PDL695XCWH | WH | L695XC WHITE COVER PLATE | Alternative | PDL695XWH
2022-08-21 | PDL695XMSS | SS | L695XMSS STAINLESS STEEL CVR | None | None | None
2022-10-30 | PDL800G | 0G | Grid Plate Single | None | None | None
2022-07-30 | PDL800G2V | 2V | Grid Plate Dble Vert | None | None | None
2022-07-30 | PDL800L240MBL | BL | Multi-Strand, 230_240VAC, LED Lamp, Blue | None | None | None
2022-07-30 | PDL800MABK | BK | Adaptor PDL modular range BK | None | None | None
2022-07-30 | PDL800MAWH | WH | Adaptor PDL modular range WH | None | None | None
2022-07-30 | PDL800PS2HWH | WH | Cover Plate Dbl Horiz WH | None | None | None
2022-07-30 | PDL800PS2VPT |  | Cover Plate Dbl Vert Plat | None | None | None
2022-07-30 | PDL800PSBK | BK | Cover Plate Single Black | None | None | None
2022-07-30 | PDL800PSCH | CH | Cover Plate Single Champy | None | None | None
2022-10-30 | PDL800PSGM | GM | Cover Plate Single Gun M | None | None | None
2022-07-30 | PDL800PSVCH | CH | COVER PLATE VERT SINGLE CH | None | None | None
2022-07-30 | PDL800PSVWH | WH | COVER PLATE VERT SINGLE WH | None | None | None
2022-07-30 | PDL815HDMI1WH | WH | HDMI Single Socket Module WH | None | None | None
2022-07-30 | PDL815MBWH | WH | Banana connector mod WH | None | None | None
2022-07-30 | PDL815MKC1WH | WH | 815MKC Single Keystone Clip Wh | None | None | None
2022-07-30 | PDL815USB2WH | WH | USB Double Socket Module WH | None | None | None
2022-08-03 | PDL842MUSBBK | BK | USB Charger Module Black | None | None | None
2022-07-30 | PDL851WH | WH | MODENA SWITCHED PCU WH | None | None | None
2022-07-30 | PDL854MWH | WH | UNIVERSAL DIMMER MOD 450W WH | None | None | None
2022-07-30 | PDL860BMBK | BK | Blank 1_2 Module BK | None | None | None
2022-07-30 | PDL860M16BK | BK | Sw 1_2 Module SP 1w 16A BK | None | None | None
2020-05-13 | PDL860M16HWH |  | SW 1/2 MOD SP 1W 16A WH HEAT | None | None | None
2020-05-13 | PDL860M16OWH |  | SW 1/2 MOD SP 1W 16A WH O/LGT | None | None | None
2022-07-30 | PDL861M16WH | WH | Sw 1_2 Module SP 2w 16A WH | None | None | None
2022-07-30 | PDL880BMLWH | WH | BLANK MODULE LARGE WHITE (S6) | None | None | None
2022-07-30 | PDL880MT1SPBWH | WH | 1G MOMENTARY PB MODULE WH | None | None | None
2022-07-30 | PDL881BK | BK | Sw compl Lge SP 2w 16A BK | None | None | None
2022-07-30 | PDL881M16MWH | WH | Sw Module Med SP 2w 16A WH | None | None | None
2022-07-30 | PDL881M16SFWH | WH | SW MOD 16A SP 2W WH FAN | None | None | None
2022-07-30 | PDL881M16SHWH | WH | SW MOD 16A SP 2W WH HEAT | None | None | None
2022-07-30 | PDL881M16SWH | WH | Sw Module Std SP 2w 16A WH | None | None | None
2022-07-30 | PDL881WH | WH | Sw compl Lge SP 2w 16A WH | None | None | None
2022-07-30 | PDL892ABK | BK | SwSkt Int Dbl Vert 10A BK | None | None | None
2022-07-30 | PDL894BLWH | WH | SWITCHED SOCKET OUTLET WH | None | None | None
2022-07-30 | PDL895ABLWH | WH | DOUBLE SW SK OUTLET WH | None | None | None
2023-11-01 | PDL903WH |  | WHITE 10A PLUG HOOK GRIP SIDE | None | None | None
2023-11-01 | PDL905RWH |  | HD B_E PLUG ROUNDEARTH 10A WH | None | None | None
2023-04-01 | PDL951OR | OR | 951 ORANGE RCD | None | None | None
2023-04-01 | PDL951WH | WH | 951 WHITE RCD | None | None | None
2023-04-01 | PDL952WH | WH | 952 WHITE RCD PLUG | None | None | None
2023-08-31 | PDL955 | 55 | NT955 INLINE RCD (HOME) | None | None | None
2023-08-31 | PDL955RW | RW | 955RW OR RCD REW 30MA NZ_AUST | None | None | None
2023-08-31 | PDL955RW10WH | WH | RCD PLUG Rewireable 10mA WHITE | None | None | None
2023-06-08 16:11 | PDLBALS1217 |  | BALS-1217 PANEL MOUNTED SKT | None | None | None
2023-11-01 | PDLBALS1S055 |  | 1S055 CARAVAN CON_PLATE PKD | None | None | None
2023-11-01 | PDLBALS21240 | 40 | BALS-21240 PLUG IP67 3P 32A | None | None | None
2023-11-01 | PDLBALS21241 | 41 | BALS-21241 PLUG IP67 5P 32A | None | None | None
2023-11-01 | PDLBALS21349 | 49 | BALS-21349 PLUG IP67 4P 16A | None | None | None
2023-11-01 | PDLBALS21351 | 51 | BALS-21351 PLUG IP67 4P 32A | None | None | None
2023-11-01 | PDLBALS231 |  | BALS-231 ANGLE PLUG | None | None | None
2023-11-01 | PDLBALS31244 | 44 | BALS-31244 IP67 3P 32A_3169 | None | None | None
2023-09-22 11:34 | PDLDBF15/19 |  | DBF and DBS LABEL SHEET PKD | Direct | R9ACIL
2023-09-22 11:34 | PDLDBF15/23 |  | DBF15/23 POLE FILLER STRIP PKD | Direct | R9APF08
2023-09-22 11:34 | PDLDBF30 |  | DBF30 D-BOARD FLUSH 30WAY SE | Direct | R9HSB215F
2023-09-22 11:34 | PDLDBF30BPDOM |  | DBF30 Bundle Pack 40A RCCBx3 MCBx9 | None | None | None
2023-09-22 11:34 | PDLDBF60 |  | DBF60 D-BOARD FLUSH 60 WA SE | Direct | R9HSB415F
2023-09-22 11:34 | PDLDBS45 |  | DBS45 D-BOARD SURF 45WAY SE | Direct | R9HSB315S
2020-12-31 | PDLICONICBLECASE | SE | Iconic Demo Case c/w BLE | None | None | None
2023-10-11 | PDLP391RCD30-XW |  | Skt Sw Vert Single 30mA RCD 10A250V XW | Alternative | PDLP395RCD30-VW
2023-11-01 | PDLS340EM |  | S340EM GY 40A ENCL SW METRIC | None | None | None
2023-09-22 11:34 | PDLSE4 |  | SE4 4WAY SURFACE ENCLOSURE | Direct | R9HME104S
2023-01-01 | PDLU1GY | GY | U1 1 GANG BOX | None | None | None
2023-11-01 | PDLU2BASEGY |  | U2 GREY BASE ONLY PACKED | None | None | None
2023-11-01 | PDLU2SGY |  | U2S 2 GANG BOX - SHALLOW | None | None | None
2023-11-01 | PDLU4TGY |  | U4T GREY 4 G BOX WITH TRAY | None | None | None
2023-11-01 | PDLU6TCL |  | U6T CLEAR 6 G BOX WITH TRAY | None | None | None
2023-11-01 | PDLU6TGY | GY | U6T GREY 6 G BOX WITH TRAY | None | None | None
2023-01-15 | PDLWJ1GY | GY | WJ1 JUNCTION BOX 1G L_GY | None | None | None
2022-02-28 | PDLWJ2GY | GY | WJ2 JUNCTION BOX 2G L_GY | None | None | None
2023-11-01 | PRA06118 |  | PRAGMA INTERFACE 18 1 R | None | None | None
2023-11-01 | PRA06218 |  | PRAGMA INTERFACE 18 2 R | None | None | None
2023-11-01 | PRA06318 |  | PRAGMA INTERFACE 18 3 R | None | None | None
2023-11-01 | PRA07118 |  | PRAGMA INTERFACE DOOR 1 R | None | None | None
2023-11-01 | PRA07318 |  | PRAGMA INTERFACE DOOR 3 R | None | None | None
2021-07-14 16:46 | PUSH_PC2 |  | Push Automation Controler | None | None | None
2021-07-14 16:46 | PUSH_PC4 |  | Push Automation Controler | None | None | None
2022-03-03 12:59 | RJ3/50PP |  | P/PANEL ,50PORT, CAT3, VOICE | Direct | VDIG141501
2023-11-01 | SAU25030273 |  | A9 SAU Chassis 3PH 250A 27mm 30P TBF | None | None | None
2023-11-01 | SNZ5424010CUT |  | CUT OM3 12 CORE FIBRE MULTIMODE | None | None | None
2023-11-01 | SNZ5428377CUT |  | CUT OM3 6 CORE FIBRE MULTIMODE | None | None | None
2020-07-17 | SNZPP0060 |  | Zen Pre Program Pack | None | None | None
2023-08-31 13:33 | TC15/24-WE | WE | TIMER SOCK SWT 24HR 250V 50HZ | Alternative | TC32V24-WE OR P3025VA-XW + 41E10PBSWM-VW | VW
2023-06-08 16:11 | WB6 |  | WALL BOX 6 MODULE | None | None | None
2023-11-01 | Z4032HSUSBC-ZB |  | Twin Sat Zen Plate with 2 USB w Shelf ZB | None | None | None
2023-06-08 16:11 | Z4032HS-ZW | ZW | SHELF HORIZONTAL SUITS SATURN ZEN Z4032 | None | None | None
2024-02-29 | 16693 |  | DOMAE QUICK PF10 1P N | Direct | R9L40100
2023-11-06 | 409/3-WE |  | PLUG TOP CLOCK 3PIN | None | None | None
2024-02-29 | DCK12461 |  | DOMAE SWITCH DISCONNECTOR 2P 63A | Direct | R9S06291
2024-02-29 | DOM11376 |  | Domae MCB ,1P ,10A ,C Curve, 6kA | Direct | R9F06110
2024-02-29 | DOM11377 |  | Domae MCB ,1P ,16A ,C Curve, 6kA | Direct | R9F06116
2024-02-29 | DOM11379 |  | Domae MCB ,1P ,25A ,C Curve, 6kA | Direct | R9F06125
2024-02-29 | DOM12529 |  | Domae AD63 K RCBO 1PN C 6A 30mA A SLIM | Direct | R9D06606
2024-02-29 | DOM12530 |  | Domae AD63 K RCBO 1PN C 10A 30mA SLIM | Direct | R9D06610
2024-02-29 | DOM12532 |  | Domae AD63 K RCBO 1PN C 20A 30mA SLIM | Direct | R9D06620
2024-02-29 | DOM12533 |  | Domae AD63 K RCBO 1PN C 25A 30mA SLIM | Direct | R9D06625
2024-02-29 | DOM19802 |  | DOMC65C C 10A 1PN 6000A 30MA A | Direct | R9D08610
2024-02-29 | DOM19803 |  | DOMC65C C 16A 1PN 6000A 30MA A | Direct | R9D08616
2024-03-01 | L5504D2UP |  | C-BUS UNIVERSAL DIMMER NO PSU | Direct | 5504D2D
2024-02-29 | PDLDBF10 |  | DBF10 D-BOARD 10WAY SE | Direct | R9HSB110F
2024-02-29 | PDLDBF15 |  | DBF15 D-BOARD FLUSH 15WAY SE | Direct | R9HSB115F
2024-02-29 | PDLDBS30 |  | DBS30 D-BOARD SURF 30WAY SE | Direct | R9HSB215S
2024-02-29 | PDLDBS60 |  | DBS60 D-BOARD SURF 60WAY SE | Direct | R9HSB415S
2024-03-28 15:44 | 5084NL-680 |  | BLOCK METER TEST METRIC | None | None | None
2022-07-04 19:41 | 157/1F |  | BOX WALL 1GANG STD SLIDE NUT | Direct | 157/1
2023-06-08 16:11 | 157/4 |  | BOX WALL 1GANG FIRE RATED | Direct | 157MDF
2024-04-03 10:43 | 16-WE | WE | BOX WALL 4GANG STD | None | None | None
2024-03-28 15:44 | 5082NL-PW | PW | SOFT START-SOFT STOP UNIT ALTISTART 320A | Direct | ATS480C32Y
2024-03-28 15:44 | 5082NL-GF | GF | C-Bus KEY INPUT GLASS FACIA 2 KEY PW | Direct | 5082PW
2023-12-06 13:46 | C2025V15-WE | WE | BOX METER DINRAIL SW_BOARD | Direct | 230DRAT2
2024-02-13 12:08 | 244/25-EO | EO | SOCK SWT TWIN VERT 15A | Alternative | C2025/15-WE | WE
2023-06-08 16:11 | 25D15-WE | WE | ML2165 MOUNTING BRACKET 2.4M | None | None | None
2024-03-04 10:42 | 3105ATPP2X4 |  | TERMINATOR ANGLE 25MM | Direct | 269/25-BK | BK
2024-08-21 12:20 | A9E18074 |  | Network Cabinet 27RU Complete 600x600 | None | None | None
2023-12-05 14:37 | 319RA-WE | WE | SWITCH TIME DELAY NEON IND319N | Alternative | 319-WE | WE
2023-12-05 14:37 | 319X-WE | WE | SWITCH TIME DELAY REV ACTION | None | None | None
2024-06-14 12:20 | 31E2PUDM-BK | BK | SWITCH TIME DELAY EXTRA SW. | Alternative | 319-WE | WE
2024-06-14 12:20 | 31E2PUDM-WE | WE | DIMMER MECH ISPB 350W | Alternative | 32ELEDM2-WE | WE
2024-08-08 11:33 | C4HS1300-AN | AN | DIM UNIVERSAL ISPB 350W,30M WE | Alternative | 32ELEDM2-WE | WE
2024-08-08 11:33 | C4HS1300-WE | WE | Ceil Swp Fan, Caloundra 4 Bld 1300mm AN | Alternative | X4HS1300-BK | BK
2024-08-08 11:33 | C4HS1300L-WE | WE | Ceil Swp Fan, Caloundra 4 Bld 1300mm WE | Alternative | X4HS1300-WE | WE
2023-06-19 09:46 | CLITPDL1C2 |  | FRENCH USER MANUAL FOR MICROLOGIC 5.0H/7 | None | None | None
2024-08-08 11:33 | CLITPDL2K3 |  | DOWNLIGHT LED, 9W, 3K_4K_6K 10 PACK | Direct | CLITPDL1C3B6
2024-08-08 11:33 | CLITPDL2K4 |  | DOWNLIGHT, 950LM, 3K, WHITE | Alternative | CLITPDL1C3
2023-06-26 11:36 | CLITPFLS10LED |  | DOWNLIGHT, 950LM, 4K, WHITE | Alternative | CLITPDL1C3
2023-06-26 11:36 | CLITPFLS20SENLED |  | FLOODLIGHT LED, 10W, 4000K, IP65 | Direct | CLITPFLT30PSC
2024-06-14 12:20 | 4061E2PUDM-TR | TR | FLOODLIGHT LED, 20W, 4000K - PIR SENSOR | Direct | CLITPFLT20SEN
2024-06-14 12:20 | 4062E450UDM-TR | TR | DIM UNIVERSAL ISPB 350W,60M | Alternative | 4062ELEDM-TR | TR
2024-05-13 12:53 | DCDALRM2 |  | NSXm/GV4 chassis 40x8 3P 12 w. SS RH TF | None | None | None
2024-08-21 12:20 | 4PS63CAM |  | SWITCH DIN MTG 1MOD C/O 40A | Direct | MX9CS140
2024-03-28 15:44 | 5082NL-680 |  | LED, BA9s Base, 120Vac/dc, red | None | None | None
2024-03-28 15:44 | 5082NL-J80 |  | C-Bus KEY INPUT GLASS FACIA 2 KEY BK | Direct | None | None
2024-03-28 15:44 | 5084NL-GF | GF | C-Bus KEY INPUT S_STEEL FACIA 2 KEY | Direct | 5082J80
2024-03-28 15:44 | 5084NL-J80 |  | C-Bus KEY INPUT GLASS FACIA 4 KEY GF | Direct | 5084GF
2024-03-28 15:44 | 5084NL-PW | PW | C-Bus KEY INPUT S_STEEL FACIA 4 KEY | Direct | 5084J80
2024-03-28 15:44 | 5086NL-680 |  | C-Bus KEY INPUT GLASS FACIA 4 KEY PW | Direct | 5084PW
2024-03-28 15:44 | 5086NL-GF | GF | C-Bus KEY INPUT GLASS FACIA 6 KEY BK | Direct | None | None
2024-03-28 15:44 | 5086NL-J80 |  | C-Bus KEY INPUT GLASS FACIA 6 KEY GF | Direct | 5086GF
2024-03-28 15:44 | 5086NL-PW | PW | C-Bus KEY INPUT S_STEEL FACIA 6 KEY | Direct | 5086J80
2023-09-12 15:41 | 7007A |  | C-Bus KEY INPUT GLASS FACIA 6 KEY PW | Direct | 5086PW
2023-09-12 15:41 | 7100WP |  | FAN EXH WIND 150MM-P_CORD LOUV | Direct | 7007AN
2024-03-04 10:42 | 8000MEN |  | S230 - 630A - 969507-022 | Direct | TA63D4L6304TPE
2024-08-21 12:20 | A9E18073 |  | S230 - 63A 4P COMS - 1094986-021 | Direct | TA10D4L0634TPE
2021-09-02 15:26 | 4CC60SB-WE | WE | MCB 2POLE 10A 6KA | Direct | MX9MC210
2024-07-24 10:11 | PDL695TWH |  | C-Bus Saturn Zen E-series 4 key SW -ZB | Direct | ER5044ZB
2024-03-28 15:44 | R5044NL-ZB | ZB | Compact NSX160H 3P uten vern | Direct | C16H3
2024-03-28 15:44 | R5042NL-ZW | ZW | EV load management system 50 CP static | Direct | HMIBSCEA53D1EDM
2023-09-27 14:52 | L5504D2U |  | RCD 2MOD 2P 63A 250V 30MA | Direct | RMXRC263
2024-03-28 15:44 | R5041NL-ZW | ZW | NETWORK CABINET 45RU CKD 800X1000 | None | None | None
2024-03-28 15:44 | R5042NL-ZB | ZB | C-Bus Saturn Zen A-series 1 key SW -ZW | Direct | R5041ZW
2024-03-28 15:44 | R5043NL-ZB | ZB | C-Bus Saturn Zen A-series 2 key SW -ZB | Direct | R5042ZB
2024-03-28 15:44 | R5043NL-ZW | ZW | C-Bus Saturn Zen A-series 3 key SW -ZB | Direct | R5043ZB
2024-03-28 15:44 | R5044NL-ZW | ZW | C-Bus Saturn Zen A-series 3 key SW -ZW | Direct | R5043ZW
2023-09-12 15:52 | 7005A |  | C-Bus Saturn Zen A-series 4 key SW -ZW | Direct | R5044ZW
2023-09-27 14:52 | L5504D2A |  | FAN EXH WIND 150MM-AUTO LOUVRE | Direct | 7005AN
2023-09-27 14:52 | L5508D1A |  | 4 CHANNEL DIMMER DIN LEARN | Direct | 5504D2D
2021-07-26 14:51 | 750WPR-GY | GY | MN150 CNTRL FINAL ASSY | None | None | None
2022-11-28 09:34 | 752DALIRC |  | INFRASCAN OUTDOOR 3WIRE 10A | Direct | 750WPR5-GY
2024-04-23 15:00 | 5031NMMIRL |  | O16 L.P. A.R. | Alternative | D16P30A01MS200
2021-09-09 12:57 | 5500SHAC |  | C-BUS 30 SER MECH MASTER IR | Alternative | 5753PEIRL
2021-07-14 16:46 | PUSH_PC1 |  | 15A POWER RELAY LED 4C/O 48VDC | None | None | None
2024-03-28 15:44 | R5041NL-ZB | ZB | MINIATURE CIRCUIT BREAKER 240V 100A | None | None | None
2019-07-08 | 751-WE | WE | PCB RELAY 1C/O 16A 48VDC | None | None | None
2024-04-17 15:41 | A9XELC10 |  | Ethernet Switch,8 Port+U/Link, 1G Base-T | None | None | None
2024-08-05 14:27 | TC32V24-WE | WE | TIMER SOCK SWT 24HR 250V 50HZ | None | None | None
2024-06-14 12:20 | Z4062E450UDN-ZW | ZW | SAFETY MOD CAT.3 230VAC | Alternative | XPSBAC34AP
2020-05-13 | PDL684CWH |  | LED PILOT LIGHT LED 230 V | Direct | ZBVM1
2024-04-09 13:41 | PDLP343HG |  | 684C WHITE COVER | None | None | None
2024-04-09 13:41 | PDLP392USB2-XW | XW | Grid 3 gang USB A charging station | None | None | None
2024-04-09 13:41 | PDLP395USB2-XW | XW | Socket Sw Vert Twin2ExUSBCHRG 10A250V XW | Alternative | PDLP395USBAC-XW | XW
2024-08-05 09:25 | PDL300USB2C-WY | WY | Dual Port USB Cap PK5 Warm Grey | None | None | None
2023-03-29 13:31 | PDL955SRW | RW | 955SRW RCD OR REW 10MA ELIMIT | None | None | None
2023-11-07 12:50 | VDIG111241F | 1F | SLID PANEL EVO 19 1U EMPTY | None | None | None
2024-08-08 | ACTTG4P6ASCM3RBU |  | CAT6A FTP CABLE 305M BLUE, CM | None | None | None
2024-02-29 | DOM19806 |  | DOMC65C C 32A 1PN 6000A 30MA A | Direct | R9D08632
2024-12-31 | 60PBC-CC | CC | CAP BUTTON PRE-LABELLED 60PB | None | None | None
2024-10-15 | 164/3 |  | BOX WALL DEEP 3G SING HEIGHT | None | None | None
2024-10-15 | 2031VAUSMT-WE | WE | SWITCH 1 VERT 20A 16AX 563G1 | None | None | None
2024-10-15 | 258/20-EO | EO | COUPLING PVC PLAIN_SCR 20MM | None | None | None
2024-10-15 | 261/50-EO | EO | SADDLE CONDUIT PVC 50MM | None | None | None
2024-09-30 | 26976 |  | SET 2 TERMINAL SHIELDS 36MM | None | None | None
2024-10-15 | 465-BK | BK | PLUG APPLIANCE 10A 250V | None | None | None
2025-11-11 | L5512RVFP |  | 12 CHANNEL RELAY DIN LEARN | Direct | 5516RVF
2025-11-11 | L5508RVF |  | RELAY C-BUS 8 CH 10A DIN LEARN | Direct | 5508RVF
2024-10-15 | A9F43325 |  | Acti9 iC60N 3P B 25A MCB | None | None | None
2024-08-08 | ACT4P6UCM3RBBU |  | CAT.6 4PR UTP CABLE 305M BLUE, CM | None | None | None
2024-08-08 | ACTFM1UF2LC6PMM |  | HD PANEL PLATE 6 ADAPTORS LC DX MM | None | None | None
2024-08-08 | ACTFM1UF2LC6PSM |  | HD PANEL PLATE 6 ADAPTORS LC DX SM | None | None | None
2024-08-08 | ACTMP1U |  | PANEL 19INC 1U UNLOADED MAX 3 PLATES | None | None | None
2024-08-08 | ACTPP6ATGS24NSS |  | CAT 6A FTP 24P NON SHUT PANEL, LOADED | None | None | None
2024-08-08 | ACTPP6U24NSS |  | CAT6 UTP 24PORT PATCH PANEL | None | None | None
2024-08-08 | ACTPPS24NSU |  | Panel, Shielded, 24-Port, Unloaded | None | None | None
2024-08-08 | ACTRJ1UCMPM |  | 1U CABLE MANAGEMENT PANEL | None | None | None
2024-08-08 | ACTRJSMTG6ANSS |  | NS MODULAR JACK,CAT 6A FTP KS | None | None | None
2024-08-08 | ACTRJSMTG6ANSSP |  | NS MODULAR JACK,CAT 6A FTP KS PANEL VER. | None | None | None
2024-08-08 | ACTTG4P6AUCM3RBU |  | CAT 6A 10G UTP CABLE 305M BLUE, CM | None | None | None
2024-10-01 | CLITPDL1T2BC |  | DOWNLIGHT TRIM FOR TPDL1C2 - B_CHROME | Direct | CLITPDL1T3BC
2024-10-01 | CLITPDL1T2BK |  | DOWNLIGHT TRIM FOR TPDL1C2 - BLACK | Direct | CLITPDL1T2BK
2024-10-15 | PDL501902_0001 |  | Wiser Hub Table Stand | None | None | None
2024-10-15 | PDL56DOL16LOBGY |  | 56DOL16 DOL Starter 7.5kW 240V Grey SE | None | None | None
2024-11-01 | PDL642MUSBBK |  | USB Charger Module 600 series Black | Direct | PDL642MUSBA
2024-11-01 | PDL642MUSBWH |  | USB Charger Module 600 series White | Direct | PDL642MUSBA
2024-10-15 | PDL650BMSS |  | 650BMSS STAINLESS STEEL COVER | None | None | None
2024-10-15 | PDL654PBMBK |  | PUSH BUTTON UNIVERSAL DIMMER MOD 350W BK | None | None | None
2024-10-15 | PDL654WH |  | 654WH UNIVERSAL DIM SW 450W | None | None | None
2024-07-31 | PDL681MSS |  | 681MSS STAINLESS STEEL COVER | None | None | None
2024-07-31 | PDL691MBBZ |  | L691MBBZ BRUSHED BRONZE COVER | None | None | None
2024-07-31 | PDL691RD |  | L691 RED SWITCH SOCKET | None | None | None
2024-07-31 | PDL692MBBZ |  | L692MBBZ BRUSHED BRONZE COVER | None | None | None
2024-07-31 | PDL692RD |  | L692 RED SWITCH SOCKET | Alternative | PDLP392C-RD | RD
2024-07-31 | PDL692XMBBZ |  | L692XMBBZ BRUSHED BRONZE CVR | None | None | None
2024-07-31 | PDL695MBBZ |  | L695MBBZ BRUSHED BRONZE COVER | None | None | None
2024-07-31 | PDL695MSS |  | L695MSS STAINLESS STEEL COVER | None | None | None
2024-10-01 | PDL695PRD |  | L695P Red Sw Skt and RCD | Alternative | ML2025RCD10-RD | RD
2024-07-31 | PDL695RD |  | L695 RED SWITCH SOCKET | Alternative | PDLP395C-RD | RD
2024-10-15 | PDLDBF45ASSY |  | Spare 45 WAY DOOR ASS DBF/DBS | None | None | None
2024-10-15 | PDLDBF60ASSY |  | Spare 60 WAY DOOR ASS DBF/DBS | None | None | None
2024-10-15 | PDLDBFPMK |  | Dist Board Power Meter Kit | None | None | None
2024-10-15 | PDLP343H-XW | XW | 3 gang USB A charging station | None | None | None
2024-12-31 | SAE_UE_MS_CDBWE |  | FLUSH MOUNT 360? OCCUPANCY SENSOR 2CH | Alternative | 753CF2
2024-06-24 | VDIB17366URD |  | RJ45 JACK CAT6 UTP KEYSTONE RED | None | None | None
2024-08-08 | VDIB1736XUWE |  | RJ45 JACK CAT6A UTP KEYSTONE WHITE | None | None | None
2024-08-08 | VDIB17396UTN |  | RJ45 JACK CAT6 UTP 40M SH TRANSLUCENT | None | None | None
2024-08-08 | VDIB2736 |  | Quick termination tool for RJ45 S110 | None | None | None
2022-12-31 | VDIB2736CM |  | Cutting module for Quick Term tool | None | None | None
2024-10-15 | VDIEB17265UBK |  | RJ45 JACK CAT5E UTP KEYSTONE BLACK | None | None | None
2024-10-15 | VDIEB17265UWE |  | RJ45 JACK CAT5E UTP KEYSTONE WHITE | None | None | None
2024-08-08 | VDIEB17266UBK |  | RJ45 JACK CAT6 UTP KEYSTONE BLACK | None | None | None
2024-08-08 | VDIEG113241U |  | P/PANEL 24PORT EMPTY UTP | None | None | None
2024-08-08 | VDIEG113241U60 |  | P/PANEL 24PORT CAT6 UTP W/JACKS | None | None | None
2024-03-25 16:59 | 007309010 |  | TERMINAL PART XENTA 280/300 | None
2024-03-25 16:59 | 007309072 |  | TAC XENTA OP V3 | None
2024-03-25 16:59 | 007309200 |  | TAC XENTA PROGRAM SERIAL KIT | None
2021-11-02 13:00 | 08083 |  | PLAIN DOOR 3R PACK 160 | Direct | LVS08083
2024-09-25 21:11 | 3240213000 |  | I-Xdcr,20AAC:0-5VDC | None
2021-11-02 12:54 | 08548 |  | IP55 TRANSPARENT DOOR W800 | Direct | LVS08548
2024-07-08 10:41 | 0M-SWET2000S |  | KIT OF 3 SPLIT CT 2000A/1 | None
2024-08-01 17:09 | 3240105000 |  | I-Sw SP 135A Out1A@250VAC NO | None
2024-05-11 07:18 | EVH4S07NC |  | AC easy home charger 7.4 kW Att. Cab. 5m | Alternative | EVH5A07N2C5 OR EVH5A07N2C7
2024-03-25 16:59 | 3240203000 |  | I-Xdcr SP 30/60/120A AC 4-20mA | None
2024-05-11 07:18 | EVH4S11NC |  | AC easy home charger 11 kW Att. Cab. 5m | Alternative | EVH5A11N2C5 OR EVH5A11N2C7
2024-05-11 07:18 | EVA1HPC1 |  | Universal Peak Controller 1P | Alternative | EVA2HPC1
2024-05-11 07:18 | EVH4S11N2 |  | AC easy home charger 11 kW - T2 | Alternative | EVH5A22N2S
2023-05-30 14:24 | 5123030010 |  | Sensor Temp Duct STD200-50 | None
2023-05-30 14:13 | 5123080010 |  | Temp Sensor Duct STD500-300 | None
2024-06-17 11:57 | 5123136010 |  | Sensor Temp Pipe STP200-200 | None
2024-03-25 16:59 | 5123138010 |  | Sensor Temp Pipe STP200-250 | None
2024-06-17 11:57 | 5123140010 |  | Sensor Temp Pipe STP200-300 | None
2024-06-17 11:57 | 5123142010 |  | Sensor Temp Pipe STP200-400 | None
2023-05-30 14:24 | 5152302000 |  | DUCT CO2 TRANS LCD VISTA | None
2023-05-30 14:24 | 5152306000 |  | DUCT CO2&HUM TRANS LCD VISTA | None
2023-05-30 14:24 | 5152310000 |  | DUCT CO2 TRANS LCD I/NET | None
2023-05-30 14:24 | 5152312000 |  | DUCT CO2&HUM TRANS I/NET | None
2023-05-30 14:24 | 5152336000 |  | DUCT CO2&HUM TRANS I/A | None
2024-05-11 07:18 | EVH4S07N2 |  | AC easy home charger 7,4 kW - T2 | Alternative | EVH5A22N2S
2021-05-14 17:24 | B3865-V |  | B3865 V BACNET CONTROLLER | None
2023-02-15 23:03 | ABL6TS04U |  | TRF 230-400/230V 40VA | None
2023-02-15 23:03 | ABL6TS16B |  | TRF 230-400/24V 160VA | None
2024-06-17 11:57 | AE-PLUS |  | ACCESS EVENTS PLUS | None
2024-06-17 11:57 | AM-135 |  | DAMPER SHAFT ADAPTOR | None
2024-06-21 09:44 | ARC-SLM-5 |  | Fiber sensor, 8000 lx | None
2023-07-07 17:21 | EVB1A7PCRI |  | EVLINK SMART WALLBOX 7 KW CABLE T2 RFID | Alternative | EVB3S07NC0
2024-09-25 12:56 | EVCP060D5IP54 |  | AccuSine PFV+ 60A 380-480 VAC IP54 | None
2024-09-25 12:56 | EVCP120D5IP00 |  | AccuSine PFV+ 120A 380-480 VAC IP00 | None
2024-09-25 12:56 | EVCP120D5IP31 |  | AccuSine PFV+ 120A 380-480 VAC IP31 | None
2024-09-25 12:56 | EVCP120D5IP54 |  | AccuSine PFV+ 120A 380-480 VAC IP54 | None
2023-07-07 17:21 | EVH2S22P04K |  | WALLBOX STD T2S 32A 3-PHASE KEY IEC | None
2023-07-07 17:21 | EVH2S3P04K |  | WALLBOX STD T2S 16A 1-PHASE KEY IEC | Alternative | EVH4S03N2
2023-07-07 17:21 | EVH2S7P04K |  | WALLBOX STD T2S 32A 1-PHASE KEY IEC | Alternative | EVH4S07N2
2023-07-07 17:21 | EVH2S7P0CK |  | WALLBOX STD CABLE T2 32A 1-PH KEY IEC | Alternative | EVH4S07NC
2022-03-07 11:14 | EBX510 |  | ComX510 energy server | Alternative | PAS800
2024-04-03 21:24 | HMIYADBMODIN11 |  | DIN Rail adaptor for HMIBMO | None
2023-05-30 14:24 | ENC-DRV-MOD |  | ENC DRIVER MODBUS MASTER | None
2023-05-30 14:24 | ENS-DBS-SQL |  | DRVR MICROSOFT SQL DATABASE | None
2024-09-25 12:56 | M8800C2E0B5A0A0A |  | PML-8800-5M-1A-P240-50-SCOM-RS485 PML 88 | None
2024-04-17 12:07 | LC1F115 |  | POWER CONTACTOR 2 NO+2NC | Alternative | LC1G115
2024-04-17 12:07 | LC1F265 |  | UNEQUIPPED CONTAC TO R LC1F 3P AC3 440V. | Alternative | LC1G265
2024-04-17 12:09 | LX1FH2402 |  | COIL LX1F 240 V AC AT 40 AND400HZ | None
2024-04-17 12:09 | LX1FJ415 |  | COIL LX1F 415 TO 440 V AC AT 40 AND400HZ | None
2024-03-25 16:59 | K453H0077BA00 |  | ACT 2POS SR DRCT 24V CORD | None
2023-07-07 12:16 | NSYCRNG1210400D |  | CRNG 1200x1000x400 two doors | Direct | NSYCRN1210400D
2024-09-25 12:56 | NSYCU400 |  | Cool.U 400W 230V 50/60Hz SideM | Alternative | NSYCU600DG
2024-09-25 12:56 | PSWSSUD1A |  | ESX Site Server Universal DC Ethernet | None
2024-03-29 12:20 | RPM22FD |  | 15A POWER RELAY LED 2C/O 110VDC | None
2024-03-29 12:23 | RSLZRA4 |  | SEPARATED SOCKET LED 230VAC/DC SPRING | None
2024-03-29 12:27 | SSM1A16P7 |  | 1P SSR 6A@24-280VAC Zero,200-265VAC | None
2022-03-10 10:55 | TCSESM243F2CU0 |  | ConneXium Managed Switch - 22TX/2FX-MM | Alternative | MCSESM243F4LG0
2024-10-09 | VA1EH-20 | 20 | Arc Sensor | None
2024-10-09 | VA1EH-6 |  | sensor de arco (tipo pipe) cable 6m | None
2024-10-09 | VIO12AASE |  | VAMP RTD Input Mod 12 Pcs Optical TX Co | None
2024-09-25 12:58 | VS050WA00B01C02TCC |  | 50kVAr WM cap bank w. main CB step CB | None
2024-09-25 12:58 | VS075WA01B01C00TCC |  | 75kVAr WM cap bank w. main CB step CB | None
2024-10-09 | VX028-3 |  | Interface cable to VPA 3 CG (Profibus mo | None
2024-10-09 | VX030-3 |  | Interface cable to VEA 3 CGi (Eth module | None
2024-10-09 | VYX695 |  | Flush mounting, 321 / 300 series, 45mm | None
2022-03-28 18:37 | XAPM1202H29 |  | PUSHBUTTON STATION 429248 | Direct | XAPD1202
2024-03-29 12:27 | XB4FVB5 |  | FLUSH PL OR LED 24V | None
2021-06-10 19:39 | XBTN400 |  | DISPLAY 4X20 | None
2023-10-23 15:16 | XBTZGHL3 |  | Soft Cable with Connector 3M XBTGH2000 | None
2023-10-23 15:29 | XBTZGWMKT |  | Wall Mounting Kit for XBTGH2000 | None
2024-03-29 12:27 | ZB5AZ901 |  | Fixing nut | None
2024-10-09 | EDGED-04-U-20 | 20 | Upg,AVEVA Edge20STUDIO DEV 4K tags 1TC | None
2024-12-31 | B3865-V |  | B3865 V BACNET CONTROLLER | None
2021-01-18 | XBTN400 |  | DISPLAY 4X20 | None
2023-08-31 | 08548 |  | IP55 TRANSPARENT DOOR W800 | Direct | LVS08548
2022-03-30 | EBX510 |  | ComX510 energy server | Alternative | PAS800 | Advanced panel server is available in other models too (PAS800P & PAS800L)
2022-12-31 | TCSESM243F2CU0 |  | ConneXium Managed Switch - 22TX/2FX-MM | Alternative | MCSESM243F4LG0
2022-05-31 | XAPM1202H29 |  | PUSHBUTTON STATION 429248 | Direct | XAPD1202 | Grey RAL 7035 lid and base
2022-12-31 | VDIB2736CM |  | Cutting module for Quick Term tool | None
2024-05-31 | ABL6TS04U |  | TRF 230-400/230V 40VA | None
2024-05-31 | ABL6TS16B |  | TRF 230-400/24V 160VA | None
2023-12-31 | ENS-DBS-SQL |  | DRVR MICROSOFT SQL DATABASE | None
2023-12-31 | ENC-DRV-MOD |  | ENC DRIVER MODBUS MASTER | None
2023-12-31 | 5152336000 |  | DUCT CO2&HUM TRANS I/A | None
2023-12-31 | 5152312000 |  | DUCT CO2&HUM TRANS I/NET | None
2023-12-31 | 5152310000 |  | DUCT CO2 TRANS LCD I/NET | None
2023-12-31 | 5123080010 |  | Temp Sensor Duct STD500-300 | None
2023-12-31 | 5123030010 |  | Sensor Temp Duct STD200-50 | None
2023-12-31 | 5152306000 |  | DUCT CO2&HUM TRANS LCD VISTA | None
2023-12-31 | 5152302000 |  | DUCT CO2 TRANS LCD VISTA | None
2023-12-30 | EVB1A7PCRI |  | EVLINK SMART WALLBOX 7 KW CABLE T2 RFID | Alternative | EVB3S07NC0 | Evlink Smart Wallbox and Parking replaced by Evlink Pro AC range
2023-12-30 | EVH2S7P04K |  | WALLBOX STD T2S 32A 1-PHASE KEY IEC | Alternative | EVH4S07N2 | Evlink Wallbox replaced by Evlink Home range New offer more competitive on the residential market
2023-12-30 | EVH2S22P04K |  | WALLBOX STD T2S 32A 3-PHASE KEY IEC | None |  | Evlink Wallbox replaced by Evlink Home range New offer more competitive on the residential market
2023-12-30 | EVH2S3P04K |  | WALLBOX STD T2S 16A 1-PHASE KEY IEC | Alternative | EVH4S03N2 | Evlink Wallbox replaced by Evlink Home range New offer more competitive on the residential market
2023-12-30 | EVH2S7P0CK |  | WALLBOX STD CABLE T2 32A 1-PH KEY IEC | Alternative | EVH4S07NC | Evlink Wallbox replaced by Evlink Home range New offer more competitive on the residential market
2023-12-31 | XBTZGHL3 |  | Soft Cable with Connector 3M XBTGH2000 | None
2023-12-31 | XBTZGWMKT |  | Wall Mounting Kit for XBTGH2000 | None
2024-08-08 | VDIEB17266UBK |  | RJ45 JACK CAT6 UTP KEYSTONE BLACK | None |  | NZ WITHDRAWAL FROM COMMERCIAL NCO
2024-08-08 | VDIB1736XUWE |  | RJ45 JACK CAT6A UTP KEYSTONE WHITE | None |  | NZ WITHDRAWAL FROM COMMERCIAL NCO
2024-08-08 | VDIB2736 |  | Quick termination tool for RJ45 S110 | None |  | NZ WITHDRAWAL FROM COMMERCIAL NCO
2024-08-08 | VDIEG113241U60 |  | P/PANEL 24PORT CAT6 UTP W/JACKS | None |  | NZ WITHDRAWAL FROM COMMERCIAL NCO
2024-08-08 | VDIEG113241U |  | P/PANEL 24PORT EMPTY UTP | None |  | NZ WITHDRAWAL FROM COMMERCIAL NCO
2024-03-26 | 3240203000 |  | I-Xdcr SP 30/60/120A AC 4-20mA | None
2024-03-26 | 5123138010 |  | Sensor Temp Pipe STP200-250 | None
2024-03-26 | 007309010 |  | TERMINAL PART XENTA 280/300 | None
2024-03-26 | K453H0077BA00 |  | ACT 2POS SR DRCT 24V CORD | None
2024-03-26 | 007309072 |  | TAC XENTA OP V3 | None
2024-03-26 | 007309200 |  | TAC XENTA PROGRAM SERIAL KIT | None
2024-05-15 | SSM1A16P7 |  | 1P SSR 6A@24-280VAC Zero,200-265VAC | None
2024-05-15 | RSLZRA4 |  | SEPARATED SOCKET LED 230VAC/DC SPRING | None
2024-03-31 | HMIYADBMODIN11 |  | DIN Rail adaptor for HMIBMO | None
2024-04-30 | LX1FH2402 |  | COIL LX1F 240 V AC AT 40 AND400HZ | None
2024-04-30 | LC1F115 |  | POWER CONTACTOR 2 NO+2NC | Alternative | LC1G115 | TeSys Giga contactor not sold without coil. 4 letters need to be added at the end to complete the reference
2024-04-30 | LC1F265 |  | UNEQUIPPED CONTAC TO R LC1F 3P AC3 440V. | Alternative | LC1G265 | TeSys Giga contactor not sold without coil. 4 letters need to be added at the end to complete the reference
2024-04-30 | LX1FJ415 |  | COIL LX1F 415 TO 440 V AC AT 40 AND400HZ | None
2024-08-30 | EVH4S11NC |  | AC easy home charger 11 kW Att. Cab. 5m | Alternative | EVH5A11N2C5 OR EVH5A11N2C7
2024-08-30 | EVA1HPC1 |  | Universal Peak Controller 1P | Alternative | EVA2HPC1 | Subsitute if used with Schneider Charge
2024-08-30 | EVH4S07NC |  | AC easy home charger 7.4 kW Att. Cab. 5m | Alternative | EVH5A07N2C5 OR EVH5A07N2C7
2024-08-30 | EVH4S07N2 |  | AC easy home charger 7,4 kW - T2 | Alternative | EVH5A22N2S
2024-08-30 | EVH4S11N2 |  | AC easy home charger 11 kW - T2 | Alternative | EVH5A22N2S
2024-12-04 | 5123136010 |  | Sensor Temp Pipe STP200-200 | None
2024-12-06 | 5123142010 |  | Sensor Temp Pipe STP200-400 | None
2024-12-05 | 5123140010 |  | Sensor Temp Pipe STP200-300 | None
2024-12-02 | AM-135 |  | DAMPER SHAFT ADAPTOR | None
2025-02-03 | AE-PLUS |  | ACCESS EVENTS PLUS | None
2024-06-24 | ARC-SLM-5 |  | Fiber sensor, 8000 lx | None
2024-07-31 | PDL692XMBBZ |  | L692XMBBZ BRUSHED BRONZE CVR | None
2024-07-31 | PDL692RD |  | L692 RED SWITCH SOCKET | Alternative | PDLP392C-RD | Requires grid PDLP392G
2024-07-31 | PDL695RD |  | L695 RED SWITCH SOCKET | Alternative | PDLP395C-RD | Requires grid PDLP395G
2024-07-31 | PDL695MSS |  | L695MSS STAINLESS STEEL COVER | None
2024-07-31 | PDL695MBBZ |  | L695MBBZ BRUSHED BRONZE COVER | None
2024-08-02 | 3240105000 |  | I-Sw SP 135A Out1A@250VAC NO | None
2024-10-01 | PDL695PRD |  | L695P Red Sw Skt and RCD | Alternative | ML2025RCD10-RD
2024-09-25 | 3240213000 |  | I-Xdcr,20AAC:0-5VDC | None
2024-10-15 | VX030-3 |  | Interface cable to VEA 3 CGi (Eth module | None
2024-10-15 | PDLDBF45ASSY |  | Spare 45 WAY DOOR ASS DBF/DBS | None
2024-10-15 | VX028-3 |  | Interface cable to VPA 3 CG (Profibus mo | None
2024-10-15 | VYX695 |  | Flush mounting, 321 / 300 series, 45mm | None
2024-10-15 | EDGED-04-U-20 |  | Upg,AVEVA Edge20STUDIO DEV 4K tags 1TC | None
2024-10-15 | PDLDBF60ASSY |  | Spare 60 WAY DOOR ASS DBF/DBS | None
2024-10-15 | VA1EH-6 |  | sensor de arco (tipo pipe) cable 6m | None
2024-10-15 | VA1EH-20 |  | Arc Sensor | None
2024-10-15 | VDIEB17265UBK |  | RJ45 JACK CAT5E UTP KEYSTONE BLACK | None
2024-10-15 | VIO12AASE |  | VAMP RTD Input Mod 12 Pcs Optical TX Co | None
2024-10-15 | VDIEB17265UWE |  | RJ45 JACK CAT5E UTP KEYSTONE WHITE | None
2024-12-31 | SAE_UE_MS_CDBWE |  | FLUSH MOUNT 360? OCCUPANCY SENSOR 2CH | Alternative | 753CF2 | Substitute is Clipsal branded and has a slightly different front
Note on B1: How the product being discontinued appears in the Schneider Electric Product Catalogues
Note on C1: Colour/version of product being discontinued
Note on D1: Description of the discontinued product
Note on E1: Direct Replacement = Can substitute obsolete product in all situations Alternative = Can substitute obsolete product in only some situations, please contact Schneider Electric technical support None = No substitute available
Note on F1: How the substitute product appears in the Schneider Electric Product Catalogues
Note on G1: Colour/version of the substitute product